## Slide 1
SMARTLAB-SU RESEARCH & DEVELOPMENT
Spectrum-Aided Vision Enhancer (SAVE) & Hyperspectral Imaging System
Real-Time Hyperspectral Reconstruction, Narrow-Band Imaging (NBI) Simulation & Disease Evaluation

## Slide 2
HYPERSPECTRAL IMAGING SYSTEM
Project Overview & Core Objectives
🎯 Project Objectives
• Reconstruct high-dimensional Hyperspectral Images (HSI) from standard RGB White-Light Imagery (WLI).
• Perform spectral band selection across 380 nm - 780 nm wavelengths at 1 nm spectral resolution.
• Simulate Narrow Band Imaging (NBI) modalities equivalent to Olympus NBI and Video Capsule Endoscopy (VCE).
• Provide real-time desktop GUI software for live spectral visualization and automated image processing.
🌟 Key Innovation Highlights
• PCA-based Spectral Reconstruction achieving 99.64% cumulative information variance.
• CIEDE 2000 Color Correction reducing chromatic aberration error from 10.76 to 0.63 (94% gain).
• High Structural Similarity Index (SSIM) of 93.992% (Olympus) and 90.680% (VCE).
• Integrated Kaggle Dataset pipelines (~54,000 multi-spectral crop disease images).

## Slide 3
HYPERSPECTRAL IMAGING SYSTEM
SAVE Algorithm Mathematical Architecture
1. Gamma Linearization
• Normalizes raw sRGB channels (0-255) to range [0, 1].
• Applies inverse power function with exponent gamma = 2.4.
• Accounts for non-linear human visual perception sensitivity.
2. CIE 1931 XYZ Conversion
• Applies linear transformation matrix [T] (0.4104, 0.3576, 0.1805...).
• Incorporates white-balance adaptation matrix [Ma].
• Maps sRGB space directly into CIE XYZ tristimulus values.
3. Spectrophotometer Integration
• Integrates light spectrum S(lambda) across 400nm - 700nm.
• Applies CIE color matching functions x(lambda), y(lambda), z(lambda).
• Calculates exact normalization factor k for reflectance calculations.

## Slide 4
HYPERSPECTRAL IMAGING SYSTEM
PCA & Hyperspectral Reconstruction
🔬 PCA Dimensionality Reduction
• Constructs reflectance matrix R(lambda) [401 x 24] from Macbeth 24-Color Checker.
• Extracts 12-eigenvector basis matrix (E) using Principal Component Analysis.
• Top 6 Principal Components account for 99.64% of total information variance.
• Derives transformation matrix [M] using multivariate regression.
🌈 Analog Spectrum Synthesis
• Reconstructs continuous spectrum S_Spectrum [380nm - 780nm] via: [EV] * [M] * [V_Color].
• Eliminates non-linear camera response distortion.
• Incorporates dark current subtraction matrix V_Dark.
• Mean color block RMSE reduced to 0.056 across 24 reference blocks.

## Slide 5
HYPERSPECTRAL IMAGING SYSTEM
Narrow Band Imaging (NBI) & VCE Simulation
🩺 NBI Modality Principles
• Blue Wavelength (415 nm): Aligns with peak hemoglobin light absorption for superficial capillaries.
• Green Wavelength (540 nm): Highlights deeper submucosal blood vessel structures.
• Additional Spectrum Bands: Incorporated at 600 nm, 700 nm, and 780 nm for enhanced contrast.
⚡ Spectrum Calibration & Optimization
• Calibrates lighting spectrum disparities between Olympus NBI and Capsule Endoscopy (VCE).
• Uses Cauchy-Lorentz visiting distribution for probability density modeling.
• Applies Dual Annealing optimization for global spectrum alignment.
• CIEDE 2000 color disparity minimized to an average of 2.79.

## Slide 6
HYPERSPECTRAL IMAGING SYSTEM
Quantitative Performance Metrics & Benchmarks
📈 Structural Similarity (SSIM)
• Olympus Endoscope SSIM: Average 93.992% (Peak 94.88%).
• Video Capsule Endoscopy (VCE) SSIM: Average 90.680% (Peak 96.65%).
• Demonstrates high structural fidelity between simulated SAVE NBI and real NBI imagery.
📊 PSNR, Entropy & Chromatic Aberration
• PSNR Fidelity: VCE avg 27.93 dB, Olympus avg 27.68 dB.
• Entropy Difference: Olympus avg 0.37%, VCE avg 1.17% (minimal spatial disorder).
• Chromatic Aberration Error: Reduced from 10.76 to 0.63 (94% accuracy improvement).

## Slide 7
HYPERSPECTRAL IMAGING SYSTEM
Kaggle Datasets & Training Pipelines
🌿 Plant Disease Detection
• ~54,000 multi-spectral crop leaf images.
• 256x256 and 512x512 spatial resolutions.
• 15 disease categories (Blight, Spot, Mold).
⚖️ Balanced Dataset
• Class-balanced dataset (~2,000 images/class).
• Equalizes distribution across minority classes.
• Eliminates bias and reduces false positives.
✂️ Splitted Dataset
• 80:10:10 Train / Validation / Test partitions.
• Sub-directory layout (train/valid/test).
• Used for independent model benchmark testing.

## Slide 8
HYPERSPECTRAL IMAGING SYSTEM
Desktop Application & User Interface
🎛️ GUI Control Panel Features
• Gain Controls: Multiplication factor slider (1.0x to 50.0x) for brightness tuning.
• Band Settings: Min/Max selectors for 4 spectral filters (380nm to 780nm).
• Sample Management: Auto-names session directories in HyperspectralImaging_Data.
• Live Feed / Split-Screen: Real-time side-by-side comparison of Original vs Processed imagery.
📷 Operational Modes & Exports
• Photo Mode: Captures high-res original.png and processed.png snapshots.
• Video Mode: Records real-time original_video.avi and processed_video.avi feeds.
• Upload Mode: Processes offline static images with custom band settings.
• Automated Export: Saves session results to Output/HyperspectralImaging_Data/.

## Slide 9
HYPERSPECTRAL IMAGING SYSTEM
Clinical & Diagnostic Advantages of SAVE
🌟 Key Diagnostic Benefits
• Enhanced Image Contrast: Highlights subtle micro-vascular mucosal variations without physical hardware filters.
• Accurate & Early Pathology Detections: Enables detection of early-stage lesions and tissue anomalies.
• Reduced Invasive Procedures: Minimizes unnecessary tissue biopsies through non-invasive optical spectral analysis.
• Hardware Versatility: Compatible with standard RGB cameras, traditional endoscopes, and Video Capsule Endoscopy (VCE).
• Time-Efficient Workflow: Instant real-time spectral processing during live examination.

## Slide 10
HYPERSPECTRAL IMAGING SYSTEM
Thank You!
Repository: SMARTLAB-SU/Hyperspectral-Imaging